Central data about the apparatus may include

• Make, model, age, owner, serial number

• Current intensity (mA), ceiling voltage (kV)

• Regulation labelling

• Adjustment area (maximum, minimum) for power output/energy

Instrument-specific documentation

• Names of operations engineers and technical personnel

• Lists of approved unsupervised users

• Log writing in connection with use of the individual instruments

• User’s guide

• Instructions for non-experts (cleaners, caretaker, visitors)

Emergency procedures

• Procedures for how to handle different emergency situations (fire, water leakage, radiation injuries, etc).

• Should describe the correct procedure for turning off the apparatus, specify that there is no radiation unless the apparatus is turned on, procedures in the event of radiation injuries, contact information, reporting, etc.

• It is a good idea to use pictures/figures.

It is a good idea to choose a binder with a yellow front and back as the information binder.